{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["〇〇配水池"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"〇〇配水池","index":0,"n_rows":48,"n_cols":37,"rows_kept":48,"cut":false,"hidden":false,"merged":[[32,26,32,37],[33,26,33,37],[34,7,34,18],[34,26,34,37],[35,7,35,18],[35,26,35,37],[36,26,36,37],[39,7,39,9],[39,10,39,17],[37,26,37,27],[37,30,37,33],[37,36,37,37],[37,7,37,9],[37,10,37,17],[38,10,38,17],[32,7,32,9],[32,10,32,17],[37,28,37,29],[37,34,37,35],[46,10,46,17],[33,7,33,18],[47,7,47,37],[48,7,48,37],[49,7,49,37],[38,26,38,37],[39,26,39,37],[36,7,36,9],[36,10,36,17],[50,7,50,37],[51,7,51,37],[26,7,26,18],[26,26,26,37],[27,7,27,18],[27,26,27,37],[47,1,51,6],[40,1,46,6],[40,7,40,18],[40,26,40,37],[41,7,41,18],[41,26,41,37],[42,7,42,18],[42,26,42,37],[43,7,43,18],[43,26,43,37],[44,7,44,18],[44,26,44,37],[45,7,45,18],[45,26,45,37],[28,7,28,9],[28,10,28,17],[46,26,46,37],[46,7,46,9],[16,26,16,37],[17,7,17,18],[20,1,39,3],[20,4,28,6],[20,7,20,18],[20,26,20,37],[21,7,21,18],[21,26,21,37],[22,7,22,18],[22,26,22,37],[23,7,23,18],[23,26,23,37],[28,26,28,37],[29,4,32,6],[29,7,29,18],[29,26,29,37],[30,7,30,18],[30,26,30,37],[31,7,31,18],[31,26,31,37],[25,7,25,18],[25,26,25,37],[37,4,39,6],[33,4,36,6],[5,26,5,37],[3,26,3,37],[4,26,4,37],[17,26,17,37],[18,7,18,18],[18,26,18,37],[19,26,19,37],[24,7,24,18],[24,26,24,37],[3,7,3,18],[4,7,4,18],[5,7,5,18],[3,19,3,25],[4,19,4,25],[5,19,5,25],[6,26,6,37],[7,7,7,18],[7,26,7,37],[8,7,8,18],[8,26,8,37],[13,7,13,18],[13,26,13,37],[11,7,11,18],[11,26,11,37],[4,1,4,6],[6,1,6,6],[6,7,6,18],[6,19,6,25],[1,1,1,37],[15,7,15,9],[15,10,15,17],[19,7,19,9],[19,10,19,17],[5,1,5,6],[3,1,3,6],[7,1,19,3],[7,4,15,6],[14,7,14,18],[14,26,14,37],[15,26,15,37],[9,7,9,18],[9,26,9,37],[10,7,10,18],[10,26,10,37],[12,7,12,18],[12,26,12,37],[16,4,19,6],[16,7,16,18]]}
[]
[null,"浄水池・配水池（コンクリート構造物）点検記録表"]
[]
[null,"施設名称",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"点検年月日"]
[null,"構造",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"容量/面積"]
[null,"点検受託者",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"担当者氏名"]
[null,"種　別",null,null,null,null,null,"点検項目",null,null,null,null,null,null,null,null,null,null,null,"異状の有無",null,null,null,null,null,null,"異状の部位・状況"]
[null,"水槽外部",null,null,"コンクリ|ト",null,null,"ジャンカ、コールドジョイント",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"ひび割れ",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"浮き、剥離",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"錆による腐食",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"エフロレッセンス",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"鉄筋露出、鉄筋腐食",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"漏水",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"沈下、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,null,null,null,"付属設備",null,null,"管・バルブ類の腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"タラップの腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"手すりの腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,"水槽内部(点検可能な場合)",null,null,"コンクリ|ト",null,null,"ジャンカ、コールドジョイント",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"ひび割れ",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"浮き、剥離",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"錆による腐食",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"エフロレッセンス",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"鉄筋露出、鉄筋腐食",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"漏水",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"沈下、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,null,null,null,"防水塗装",null,null,"ひび割れ",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"浮き、剥離",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"表面劣化",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,null,null,null,"付属設備",null,null,"管・バルブ類の腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"タラップの腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"水位計・電極類の腐食、変形",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,null,null,null,"堆積",null,null,"堆積物（",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有",null,"平均",null,null,null,"mm    (最大",null,null,null,null,null,"mm)"]
[null,null,null,null,null,null,null,"落下物（",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,"管理用地",null,null,null,null,null,"施錠状態",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"門扉・フェンス",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"樹木・植裁・除草",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"舗装・法面・排水設備(側溝等)",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"清掃・片付け状況",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"不法投棄・不法占用",null,null,null,null,null,null,null,null,null,null,null,null,null,"無",null,null,"有"]
[null,null,null,null,null,null,null,"その他（　　　　　　　　）",null,null,null,null,null,null,null,null,null,null,")",null,null,"無",null,null,"有"]
[null,"特記事項\n（異状が著しい\n場合に記入）"]